{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["1 表-08 分部分项工程和单价措施项目清单与计价表","2 表-11 总价措施项目清单与计价表","3 表-13 规费、税金项目计价表"],"not_rendered":{"external_links":1,"defined_names":3},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1 表-08 分部分项工程和单价措施项目清单与计价表","index":0,"n_rows":194,"n_cols":12,"rows_kept":194,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[5,2,5,5],[5,9,5,10],[6,2,6,3],[6,4,6,5],[6,9,6,10],[7,2,7,3],[7,4,7,5],[7,9,7,10],[8,2,8,3],[8,4,8,5],[8,9,8,10],[9,2,9,3],[9,4,9,5],[9,9,9,10],[10,2,10,3],[10,4,10,5],[10,9,10,10],[11,2,11,3],[11,4,11,5],[11,9,11,10],[12,2,12,3],[12,4,12,5],[12,9,12,10],[13,2,13,3],[13,4,13,5],[13,9,13,10],[14,2,14,3],[14,4,14,5],[14,9,14,10],[15,2,15,3],[15,4,15,5],[15,9,15,10],[16,2,16,3],[16,4,16,5],[16,9,16,10],[17,2,17,3],[17,4,17,5],[17,9,17,10],[18,2,18,3],[18,4,18,5],[18,9,18,10],[19,2,19,3],[19,4,19,5],[19,9,19,10],[20,2,20,3],[20,4,20,5],[20,9,20,10],[21,2,21,3],[21,4,21,5],[21,9,21,10],[22,2,22,5],[22,9,22,10],[23,2,23,5],[23,9,23,10],[24,2,24,3],[24,4,24,5],[24,9,24,10],[25,2,25,3],[25,4,25,5],[25,9,25,10],[26,2,26,3],[26,4,26,5],[26,9,26,10],[27,2,27,3],[27,4,27,5],[27,9,27,10],[28,2,28,3],[28,4,28,5],[28,9,28,10],[29,2,29,3],[29,4,29,5],[29,9,29,10],[30,2,30,3],[30,4,30,5],[30,9,30,10],[31,0,31,8],[31,9,31,10],[33,3,33,11],[34,0,34,11],[35,0,35,4],[35,5,35,9],[35,10,35,11],[36,0,38,0],[36,1,38,1],[36,2,38,3],[36,4,38,5],[36,6,38,6],[36,7,38,7],[36,8,36,11],[37,8,38,8],[37,9,38,10],[39,2,39,3],[39,4,39,5],[39,9,39,10],[40,2,40,3],[40,4,40,5],[40,9,40,10],[41,2,41,3],[41,4,41,5],[41,9,41,10],[42,2,42,3],[42,4,42,5],[42,9,42,10],[43,2,43,3],[43,4,43,5],[43,9,43,10],[44,2,44,3],[44,4,44,5],[44,9,44,10],[45,2,45,3],[45,4,45,5],[45,9,45,10],[46,2,46,3],[46,4,46,5],[46,9,46,10],[47,2,47,3],[47,4,47,5],[47,9,47,10],[48,2,48,3],[48,4,48,5],[48,9,48,10],[49,2,49,5],[49,9,49,10],[50,2,50,5],[50,9,50,10],[51,2,51,3],[51,4,51,5],[51,9,51,10],[52,2,52,3],[52,4,52,5],[52,9,52,10],[53,2,53,3],[53,4,53,5],[53,9,53,10],[54,2,54,3],[54,4,54,5],[54,9,54,10],[55,2,55,3],[55,4,55,5],[55,9,55,10],[56,2,56,3],[56,4,56,5],[56,9,56,10],[57,2,57,3],[57,4,57,5],[57,9,57,10],[58,2,58,3],[58,4,58,5],[58,9,58,10],[59,2,59,3],[59,4,59,5],[59,9,59,10],[60,2,60,3],[60,4,60,5],[60,9,60,10],[61,2,61,3],[61,4,61,5],[61,9,61,10],[62,2,62,3],[62,4,62,5],[62,9,62,10],[63,0,63,8],[63,9,63,10],[65,3,65,11],[66,0,66,11],[67,0,67,4],[67,5,67,9],[67,10,67,11],[68,0,70,0],[68,1,70,1],[68,2,70,3],[68,4,70,5],[68,6,70,6],[68,7,70,7],[68,8,68,11],[69,8,70,8],[69,9,70,10],[71,2,71,3],[71,4,71,5],[71,9,71,10],[72,2,72,3],[72,4,72,5],[72,9,72,10],[73,2,73,3],[73,4,73,5],[73,9,73,10],[74,2,74,3],[74,4,74,5],[74,9,74,10],[75,2,75,3],[75,4,75,5],[75,9,75,10],[76,2,76,3],[76,4,76,5],[76,9,76,10],[77,2,77,5],[77,9,77,10],[78,2,78,5],[78,9,78,10],[79,2,79,3],[79,4,79,5],[79,9,79,10],[80,2,80,3],[80,4,80,5],[80,9,80,10],[81,2,81,3],[81,4,81,5],[81,9,81,10],[82,2,82,3],[82,4,82,5],[82,9,82,10],[83,2,83,3],[83,4,83,5],[83,9,83,10],[84,2,84,3],[84,4,84,5],[84,9,84,10],[85,2,85,3],[85,4,85,5],[85,9,85,10],[86,2,86,3],[86,4,86,5],[86,9,86,10],[87,2,87,3],[87,4,87,5],[87,9,87,10],[88,2,88,3],[88,4,88,5],[88,9,88,10],[89,2,89,3],[89,4,89,5],[89,9,89,10],[90,2,90,3],[90,4,90,5],[90,9,90,10],[91,2,91,3],[91,4,91,5],[91,9,91,10],[92,2,92,3],[92,4,92,5],[92,9,92,10],[93,0,93,8],[93,9,93,10],[95,3,95,11],[96,0,96,11],[97,0,97,4],[97,5,97,9],[97,10,97,11],[98,0,100,0],[98,1,100,1],[98,2,100,3],[98,4,100,5],[98,6,100,6],[98,7,100,7],[98,8,98,11],[99,8,100,8],[99,9,100,10],[101,2,101,3],[101,4,101,5],[101,9,101,10],[102,2,102,5],[102,9,102,10],[103,2,103,5],[103,9,103,10],[104,2,104,3],[104,4,104,5],[104,9,104,10],[105,2,105,3],[105,4,105,5],[105,9,105,10],[106,2,106,3],[106,4,106,5],[106,9,106,10],[107,2,107,3],[107,4,107,5],[107,9,107,10],[108,2,108,3],[108,4,108,5],[108,9,108,10],[109,2,109,3],[109,4,109,5],[109,9,109,10],[110,2,110,3],[110,4,110,5],[110,9,110,10],[111,2,111,3],[111,4,111,5],[111,9,111,10],[112,2,112,3],[112,4,112,5],[112,9,112,10],[113,2,113,3],[113,4,113,5],[113,9,113,10],[114,2,114,3],[114,4,114,5],[114,9,114,10],[115,2,115,3],[115,4,115,5],[115,9,115,10],[116,2,116,3],[116,4,116,5],[116,9,116,10],[117,2,117,3],[117,4,117,5],[117,9,117,10],[118,2,118,3],[118,4,118,5],[118,9,118,10],[119,2,119,3],[119,4,119,5],[119,9,119,10],[120,2,120,5],[120,9,120,10],[121,2,121,5],[121,9,121,10],[122,2,122,3],[122,4,122,5],[122,9,122,10],[123,2,123,3],[123,4,123,5],[123,9,123,10],[124,2,124,3],[124,4,124,5],[124,9,124,10],[125,2,125,3],[125,4,125,5],[125,9,125,10],[126,2,126,3],[126,4,126,5],[126,9,126,10],[127,0,127,8],[127,9,127,10],[129,3,129,11],[130,0,130,11],[131,0,131,4],[131,5,131,9],[131,10,131,11],[132,0,134,0],[132,1,134,1],[132,2,134,3],[132,4,134,5],[132,6,134,6],[132,7,134,7],[132,8,132,11],[133,8,134,8],[133,9,134,10],[135,2,135,3],[135,4,135,5],[135,9,135,10],[136,2,136,3],[136,4,136,5],[136,9,136,10],[137,2,137,3],[137,4,137,5],[137,9,137,10],[138,2,138,3],[138,4,138,5],[138,9,138,10],[139,2,139,3],[139,4,139,5],[139,9,139,10],[140,2,140,3],[140,4,140,5],[140,9,140,10],[141,2,141,3],[141,4,141,5],[141,9,141,10],[142,2,142,3],[142,4,142,5],[142,9,142,10],[143,2,143,3],[143,4,143,5],[143,9,143,10],[144,2,144,3],[144,4,144,5],[144,9,144,10],[145,2,145,3],[145,4,145,5],[145,9,145,10],[146,2,146,5],[146,9,146,10],[147,2,147,5],[147,9,147,10],[148,2,148,3],[148,4,148,5],[148,9,148,10],[149,2,149,3],[149,4,149,5],[149,9,149,10],[150,2,150,3],[150,4,150,5],[150,9,150,10],[151,2,151,3],[151,4,151,5],[151,9,151,10],[152,2,152,3],[152,4,152,5],[152,9,152,10],[153,2,153,3],[153,4,153,5],[153,9,153,10],[154,2,154,3],[154,4,154,5],[154,9,154,10],[155,2,155,3],[155,4,155,5],[155,9,155,10],[156,2,156,3],[156,4,156,5],[156,9,156,10],[157,0,157,8],[157,9,157,10],[159,3,159,11],[160,0,160,11],[161,0,161,4],[161,5,161,9],[161,10,161,11],[162,0,164,0],[162,1,164,1],[162,2,164,3],[162,4,164,5],[162,6,164,6],[162,7,164,7],[162,8,162,11],[163,8,164,8],[163,9,164,10],[165,2,165,3],[165,4,165,5],[165,9,165,10],[166,2,166,3],[166,4,166,5],[166,9,166,10],[167,2,167,5],[167,9,167,10],[168,2,168,5],[168,9,168,10],[169,2,169,3],[169,4,169,5],[169,9,169,10],[170,2,170,3],[170,4,170,5],[170,9,170,10],[171,2,171,3],[171,4,171,5],[171,9,171,10],[172,2,172,3],[172,4,172,5],[172,9,172,10],[173,2,173,3],[173,4,173,5],[173,9,173,10],[174,2,174,3],[174,4,174,5],[174,9,174,10],[175,2,175,3],[175,4,175,5],[175,9,175,10],[176,2,176,3],[176,4,176,5],[176,9,176,10],[177,2,177,3],[177,4,177,5],[177,9,177,10],[178,2,178,3],[178,4,178,5],[178,9,178,10],[179,2,179,3],[179,4,179,5],[179,9,179,10],[180,2,180,3],[180,4,180,5],[180,9,180,10],[181,2,181,3],[181,4,181,5],[181,9,181,10],[182,2,182,3],[182,4,182,5],[182,9,182,10],[183,2,183,3],[183,4,183,5],[183,9,183,10],[184,2,184,3],[184,4,184,5],[184,9,184,10],[185,2,185,5],[185,9,185,10],[186,2,186,5],[186,9,186,10],[187,2,187,3],[187,4,187,5],[187,9,187,10],[188,2,188,5],[188,9,188,10],[189,2,189,3],[189,4,189,5],[189,9,189,10],[190,0,190,8],[190,9,190,10],[191,0,191,8],[191,9,191,10],[193,3,193,11]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装工程",{"$nulls":4},"标段：",{"$nulls":4},"第1页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null,"001 520,521,522,421,422,321六间",{"$nulls":4},""]
["1","030412005002","荧光灯",null,"双管荧光灯拆除",null,"套","24"]
["2","030404033001","风扇",null,"吊扇拆除",null,"台","12"]
["3","030411002001","线槽",null,"墙面线槽、配线拆除",null,"项","1"]
["4","030404035001","插座",null,"教室开关插座拆除",null,"项","1"]
["5","030404019001","控制开关",null,"配电箱内增加断路器",null,"个","12"]
["6","030411001001","配管",null,"1、名称：JDG20\n2、配置形式：暗敷",null,"m","240"]
["7","030411001002","配管",null,"1、名称：JDG25\n2、配置形式：暗敷",null,"m","72"]
["8","030413002002","凿（压）槽",null,"配管开槽",null,"m","312"]
["9","030411004001","配线",null,"1、配线形式：管内穿线\n2、型号：BV2.5",null,"m","768"]
["10","030411004002","配线",null,"1、配线形式：管内穿线\n2、型号：BV4",null,"m","252"]
["11","030412005001","荧光灯",null,"1、名称：双管荧光灯\n2、型号：2*28W\n3、安装形式：吸顶安装",null,"套","24"]
["12","030404035002","插座",null,"1、名称：五孔插座\n2、安装方式：距地0.3M",null,"个","24"]
["13","030404035003","插座",null,"1、名称：空调插座\n2、安装方式：距地2.2M",null,"个","6"]
["14","030404035004","插座",null,"1、名称：地插",null,"个","24"]
["15","030404034001","照明开关",null,"1、名称：二开\n2、规格：86系列",null,"个","6"]
["16","030411006001","接线盒",null,"1、名称：接线盒\n2、规格：86型",null,"个","84"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"002 523,423,323三间",{"$nulls":4},""]
["17","030412005003","荧光灯",null,"双管荧光灯拆除",null,"套","18"]
["18","030404033002","风扇",null,"吊扇拆除",null,"台","12"]
["19","030411002002","线槽",null,"墙面线槽、配线拆除",null,"项","1"]
["20","030404035005","插座",null,"教室开关插座拆除",null,"项","1"]
["21","030404019002","控制开关",null,"配电箱内增加断路器",null,"个","6"]
["22","030411001003","配管",null,"1、名称：JDG20\n2、配置形式：暗敷",null,"m","144"]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装工程",{"$nulls":4},"标段：",{"$nulls":4},"第2页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["23","030411001004","配管",null,"1、名称：JDG25\n2、配置形式：暗敷",null,"m","36"]
["24","030413002003","凿（压）槽",null,"配管开槽",null,"m","180"]
["25","030411004003","配线",null,"1、配线形式：管内穿线\n2、型号：BV2.5",null,"m","462"]
["26","030411004004","配线",null,"1、配线形式：管内穿线\n2、型号：BV4",null,"m","126"]
["27","030412005004","荧光灯",null,"1、名称：双管荧光灯\n2、型号：2*28W\n3、安装形式：吸顶安装",null,"套","18"]
["28","030404035006","插座",null,"1、名称：五孔插座\n2、安装方式：距地0.3M",null,"个","12"]
["29","030404035007","插座",null,"1、名称：空调插座\n2、安装方式：距地2.2M",null,"个","3"]
["30","030404035008","插座",null,"1、名称：地插",null,"个","24"]
["31","030404034002","照明开关",null,"1、名称：二开\n2、规格：86系列",null,"个","3"]
["32","030411006002","接线盒",null,"1、名称：接线盒\n2、规格：86型",null,"个","50"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"003 424,324两间",{"$nulls":4},""]
["33","030412005005","荧光灯",null,"双管荧光灯拆除",null,"套","12"]
["34","030404033003","风扇",null,"吊扇拆除",null,"台","8"]
["35","030411002003","线槽",null,"墙面线槽、配线拆除",null,"项","1"]
["36","030404035009","插座",null,"教室开关插座拆除",null,"项","1"]
["37","030404019003","控制开关",null,"配电箱内增加断路器",null,"个","4"]
["38","030411001005","配管",null,"1、名称：JDG20\n2、配置形式：暗敷",null,"m","96"]
["39","030411001006","配管",null,"1、名称：JDG25\n2、配置形式：暗敷",null,"m","24"]
["40","030413002004","凿（压）槽",null,"配管开槽",null,"m","120"]
["41","030411004005","配线",null,"1、配线形式：管内穿线\n2、型号：BV2.5",null,"m","308"]
["42","030411004006","配线",null,"1、配线形式：管内穿线\n2、型号：BV4",null,"m","84"]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装工程",{"$nulls":4},"标段：",{"$nulls":4},"第3页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["43","030412005006","荧光灯",null,"1、名称：双管荧光灯\n2、型号：2*28W\n3、安装形式：吸顶安装",null,"套","12"]
["44","030404035010","插座",null,"1、名称：五孔插座\n2、安装方式：距地0.3M",null,"个","8"]
["45","030404035011","插座",null,"1、名称：空调插座\n2、安装方式：距地2.2M",null,"个","2"]
["46","030404035012","插座",null,"1、名称：地插",null,"个","16"]
["47","030404034003","照明开关",null,"1、名称：二开\n2、规格：86系列",null,"个","2"]
["48","030411006003","接线盒",null,"1、名称：接线盒\n2、规格：86型",null,"个","40"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"004 320会客室一间",{"$nulls":4},""]
["49","030412005009","荧光灯",null,"双管荧光灯拆除",null,"套","4"]
["50","030404033005","风扇",null,"吊扇拆除",null,"台","2"]
["51","030411002005","线槽",null,"墙面线槽、配线拆除",null,"项","1"]
["52","030404035017","插座",null,"教室开关插座拆除",null,"项","1"]
["53","030404019005","控制开关",null,"配电箱内增加断路器",null,"个","1"]
["54","030411001009","配管",null,"1、名称：JDG20\n2、配置形式：暗敷",null,"m","28"]
["55","030411001010","配管",null,"1、名称：JDG25\n2、配置形式：暗敷",null,"m","12"]
["56","030413002006","凿（压）槽",null,"配管开槽",null,"m","40"]
["57","030411004009","配线",null,"1、配线形式：管内穿线\n2、型号：BV2.5",null,"m","90"]
["58","030411004010","配线",null,"1、配线形式：管内穿线\n2、型号：BV4",null,"m","42"]
["59","030412005010","荧光灯",null,"1、名称：双管荧光灯\n2、型号：2*28W\n3、安装形式：吸顶安装",null,"套","4"]
["60","030404035018","插座",null,"1、名称：五孔插座\n2、安装方式：距地0.3M",null,"个","8"]
["61","030404035019","插座",null,"1、名称：空调插座\n2、安装方式：距地2.2M",null,"个","1"]
["62","030404034005","照明开关",null,"1、名称：二开\n2、规格：86系列",null,"个","1"]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装工程",{"$nulls":4},"标段：",{"$nulls":4},"第4页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["63","030411006004","接线盒",null,"1、名称：接线盒\n2、规格：86型",null,"个","14"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"005 322经理办公室",{"$nulls":4},""]
["64","030412005011","荧光灯",null,"双管荧光灯拆除",null,"套","4"]
["65","030404033006","风扇",null,"吊扇拆除",null,"台","2"]
["66","030411002006","线槽",null,"墙面线槽、配线拆除",null,"项","1"]
["67","030404035020","插座",null,"教室开关插座拆除",null,"项","1"]
["68","030404019006","控制开关",null,"配电箱内增加断路器",null,"个","2"]
["69","030411001011","配管",null,"1、名称：JDG20\n2、配置形式：暗敷",null,"m","40"]
["70","030411001012","配管",null,"1、名称：JDG25\n2、配置形式：暗敷",null,"m","12"]
["71","030413002007","凿（压）槽",null,"配管开槽",null,"m","52"]
["72","030411004011","配线",null,"1、配线形式：管内穿线\n2、型号：BV2.5",null,"m","128"]
["73","030411004012","配线",null,"1、配线形式：管内穿线\n2、型号：BV4",null,"m","42"]
["74","030412005012","荧光灯",null,"1、名称：双管荧光灯\n2、型号：2*28W\n3、安装形式：吸顶安装",null,"套","4"]
["75","030404035021","插座",null,"1、名称：五孔插座\n2、安装方式：距地0.3M",null,"个","8"]
["76","030404035022","插座",null,"1、名称：空调插座\n2、安装方式：距地2.2M",null,"个","1"]
["77","030404035023","插座",null,"1、名称：地插",null,"个","2"]
["78","030404034006","照明开关",null,"1、名称：二开\n2、规格：86系列",null,"个","1"]
["79","030411006005","接线盒",null,"1、名称：接线盒\n2、规格：86型",null,"个","16"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"006 319会议室",{"$nulls":4},""]
["80","030412005013","荧光灯",null,"双管荧光灯拆除",null,"套","4"]
["81","030404033007","风扇",null,"吊扇拆除",null,"台","2"]
["82","030411002007","线槽",null,"墙面线槽、配线拆除",null,"项","1"]
["83","030404035024","插座",null,"教室开关插座拆除",null,"项","1"]
["84","030404019007","控制开关",null,"配电箱内增加断路器",null,"个","2"]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装工程",{"$nulls":4},"标段：",{"$nulls":4},"第5页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["85","030411001013","配管",null,"1、名称：JDG20\n2、配置形式：暗敷",null,"m","45"]
["86","030411001014","配管",null,"1、名称：JDG25\n2、配置形式：暗敷",null,"m","12"]
["87","030413002008","凿（压）槽",null,"配管开槽",null,"m","57"]
["88","030411004013","配线",null,"1、配线形式：管内穿线\n2、型号：BV2.5",null,"m","144"]
["89","030411004014","配线",null,"1、配线形式：管内穿线\n2、型号：BV4",null,"m","42"]
["90","030412005014","荧光灯",null,"1、名称：双管荧光灯\n2、型号：2*28W\n3、安装形式：吸顶安装",null,"套","4"]
["91","030404035025","插座",null,"1、名称：五孔插座\n2、安装方式：距地0.3M",null,"个","8"]
["92","030404035026","插座",null,"1、名称：空调插座\n2、安装方式：距地2.2M",null,"个","1"]
["93","030404035027","插座",null,"1、名称：地插",null,"个","2"]
["94","030404034007","照明开关",null,"1、名称：二开\n2、规格：86系列",null,"个","1"]
["95","030411006006","接线盒",null,"1、名称：接线盒\n2、规格：86型",null,"个","16"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"007 419档案资料室",{"$nulls":4},""]
["96","030412005015","荧光灯",null,"双管荧光灯拆除",null,"套","4"]
["97","030404033008","风扇",null,"吊扇拆除",null,"台","2"]
["98","030411002008","线槽",null,"墙面线槽、配线拆除",null,"项","1"]
["99","030404035028","插座",null,"教室开关插座拆除",null,"项","1"]
["100","030411001015","配管",null,"1、名称：JDG20\n2、配置形式：暗敷",null,"m","28"]
["101","030413002009","凿（压）槽",null,"配管开槽",null,"m","28"]
["102","030411004015","配线",null,"1、配线形式：管内穿线\n2、型号：BV2.5",null,"m","90"]
["103","030412005016","荧光灯",null,"1、名称：双管荧光灯\n2、型号：2*28W\n3、安装形式：吸顶安装",null,"套","4"]
["104","030404035029","插座",null,"1、名称：五孔插座\n2、安装方式：距地0.3M",null,"个","2"]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装工程",{"$nulls":4},"标段：",{"$nulls":4},"第6页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["105","030404034008","照明开关",null,"1、名称：二开\n2、规格：86系列",null,"个","1"]
["106","030411006007","接线盒",null,"1、名称：接线盒\n2、规格：86型",null,"个","7"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"008 420外勤文印部",{"$nulls":4},""]
["107","030412005017","荧光灯",null,"双管荧光灯拆除",null,"套","4"]
["108","030404033009","风扇",null,"吊扇拆除",null,"台","2"]
["109","030411002009","线槽",null,"墙面线槽、配线拆除",null,"项","1"]
["110","030404035030","插座",null,"教室开关插座拆除",null,"项","1"]
["111","030404019008","控制开关",null,"配电箱内增加断路器",null,"个","2"]
["112","030411001016","配管",null,"1、名称：JDG20\n2、配置形式：暗敷",null,"m","37"]
["113","030411001017","配管",null,"1、名称：JDG25\n2、配置形式：暗敷",null,"m","12"]
["114","030413002010","凿（压）槽",null,"配管开槽",null,"m","49"]
["115","030411004016","配线",null,"1、配线形式：管内穿线\n2、型号：BV2.5",null,"m","118"]
["116","030411004017","配线",null,"1、配线形式：管内穿线\n2、型号：BV4",null,"m","42"]
["117","030412005018","荧光灯",null,"1、名称：双管荧光灯\n2、型号：2*28W\n3、安装形式：吸顶安装",null,"套","4"]
["118","030404035031","插座",null,"1、名称：五孔插座\n2、安装方式：距地0.3M",null,"个","8"]
["119","030404035032","插座",null,"1、名称：空调插座\n2、安装方式：距地2.2M",null,"个","1"]
["120","030404035033","插座",null,"1、名称：地插",null,"个","1"]
["121","030404034009","照明开关",null,"1、名称：二开\n2、规格：86系列",null,"个","1"]
["122","030411006008","接线盒",null,"1、名称：接线盒\n2、规格：86型",null,"个","15"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"分部分项合计",{"$nulls":4},""]
["1","031301017001","脚手架搭拆",{"$nulls":3},"项","1"]
[null,null,"单价措施合计",{"$nulls":4},""]
[]
["本页小计"]
["合    计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"2 表-11 总价措施项目清单与计价表","index":1,"n_rows":45,"n_cols":14,"rows_kept":45,"merged":[[0,0,0,14],[1,0,1,6],[1,7,1,11],[1,12,1,14],[2,2,2,4],[2,6,2,7],[2,8,2,9],[2,11,2,12],[2,13,2,14],[3,2,3,4],[3,6,3,7],[3,8,3,9],[3,11,3,12],[3,13,3,14],[4,2,4,4],[4,6,4,7],[4,8,4,9],[4,11,4,12],[4,13,4,14],[5,2,5,4],[5,6,5,7],[5,8,5,9],[5,11,5,12],[5,13,5,14],[6,2,6,4],[6,6,6,7],[6,8,6,9],[6,11,6,12],[6,13,6,14],[7,2,7,4],[7,6,7,7],[7,8,7,9],[7,11,7,12],[7,13,7,14],[8,2,8,4],[8,6,8,7],[8,8,8,9],[8,11,8,12],[8,13,8,14],[9,2,9,4],[9,6,9,7],[9,8,9,9],[9,11,9,12],[9,13,9,14],[10,2,10,4],[10,6,10,7],[10,8,10,9],[10,11,10,12],[10,13,10,14],[11,2,11,4],[11,6,11,7],[11,8,11,9],[11,11,11,12],[11,13,11,14],[12,2,12,4],[12,6,12,7],[12,8,12,9],[12,11,12,12],[12,13,12,14],[13,2,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[14,2,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[15,2,15,4],[15,6,15,7],[15,8,15,9],[15,11,15,12],[15,13,15,14],[16,0,16,14],[17,3,17,14],[18,0,18,3],[18,9,18,13],[19,0,19,14],[20,0,20,6],[20,7,20,11],[20,12,20,14],[21,2,21,4],[21,6,21,7],[21,8,21,9],[21,11,21,12],[21,13,21,14],[22,2,22,4],[22,6,22,7],[22,8,22,9],[22,11,22,12],[22,13,22,14],[23,0,24,0],[23,1,24,1],[23,2,24,4],[23,5,24,5],[23,6,24,7],[23,8,24,9],[23,10,24,10],[23,11,24,12],[23,13,24,14],[25,0,27,0],[25,1,27,1],[25,2,27,4],[25,5,27,5],[25,6,27,7],[25,8,27,9],[25,10,27,10],[25,11,27,12],[25,13,27,14],[28,2,28,4],[28,6,28,7],[28,8,28,9],[28,11,28,12],[28,13,28,14],[29,2,29,4],[29,6,29,7],[29,8,29,9],[29,11,29,12],[29,13,29,14],[30,2,30,4],[30,6,30,7],[30,8,30,9],[30,11,30,12],[30,13,30,14],[31,2,31,4],[31,6,31,7],[31,8,31,9],[31,11,31,12],[31,13,31,14],[32,2,32,4],[32,6,32,7],[32,8,32,9],[32,11,32,12],[32,13,32,14],[33,2,33,4],[33,6,33,7],[33,8,33,9],[33,11,33,12],[33,13,33,14],[34,2,34,4],[34,6,34,7],[34,8,34,9],[34,11,34,12],[34,13,34,14],[35,2,35,4],[35,6,35,7],[35,8,35,9],[35,11,35,12],[35,13,35,14],[36,2,36,4],[36,6,36,7],[36,8,36,9],[36,11,36,12],[36,13,36,14],[37,2,37,4],[37,6,37,7],[37,8,37,9],[37,11,37,12],[37,13,37,14],[38,2,38,4],[38,6,38,7],[38,8,38,9],[38,11,38,12],[38,13,38,14],[39,2,39,4],[39,6,39,7],[39,8,39,9],[39,11,39,12],[39,13,39,14],[40,2,40,4],[40,6,40,7],[40,8,40,9],[40,11,40,12],[40,13,40,14],[41,2,41,4],[41,6,41,7],[41,8,41,9],[41,11,41,12],[41,13,41,14],[42,0,42,14],[43,3,43,14],[44,0,44,3],[44,9,44,13]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：安装工程",{"$nulls":6},"标段：",{"$nulls":4},"第1页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["1","031302001001","安全文明施工费",{"$nulls":3},""]
["1.1",null,"基本费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","1.500"]
["1.2",null,"增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["1.3",null,"扬尘污染防治增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","0.210"]
["2","031302002001","夜间施工增加",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["3","031302003001","非夜间施工增加",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["4","031302004001","二次搬运",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["5","031302005001","冬雨季施工增加",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["6","031302006001","已完工程及设备保护",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["7","031302008001","临时设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["8","031302009001","赶工措施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：安装工程",{"$nulls":6},"标段：",{"$nulls":4},"第2页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["9","031302010001","工程按质论价",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["10","031302011001","住宅分户验收",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"在计取住宅分户验收时，大型土石方工程、桩基工程和地下室部分不计入计费基础"]
[]
["11","031302012001","建筑工人实名制费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"建筑工人实名制设备由建筑工人工资专用账户开户银行提供的，建筑工人实名制费用按表中费率乘以0.5系数计取"]
[]
[]
["12","031302090001","地上、地下设施、建筑物的临时保护设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["13","031302091001","特殊条件下施工增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
{"$rows_empty":13}
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]

{"sheet":"3 表-13 规费、税金项目计价表","index":2,"n_rows":41,"n_cols":11,"rows_kept":41,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,8],[1,9,1,11],[2,1,2,2],[2,3,2,5],[2,6,2,7],[2,8,2,9],[2,10,2,11],[3,1,3,2],[3,3,3,5],[3,6,3,7],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,6,6,7],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,6,7,7],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,6,8,7],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,6,9,7],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,6,10,7],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,6,11,7],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,6,12,7],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,6,13,7],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,6,14,7],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,6,15,7],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,6,16,7],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,6,17,7],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,6,18,7],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,6,19,7],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,6,20,7],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,6,21,7],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,6,22,7],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,6,23,7],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,6,24,7],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,6,25,7],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,6,26,7],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,6,27,7],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,9],[30,10,30,11],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,9],[31,10,31,11],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,9],[32,10,32,11],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,9],[33,10,33,11],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,9],[34,10,34,11],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,9],[35,10,35,11],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,9],[36,10,36,11],[37,0,37,9],[37,10,37,11],[39,2,39,11],[40,0,40,3],[40,7,40,10]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：安装工程",{"$nulls":4},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,null,"计算基数(元)",null,"计算费率(％)",null,"金额(元)"]
["1","规费",null,"环境保护税+社会保险费+住房公积金",{"$nulls":4},"100.000"]
["1.1","社会保险费",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"2.400"]
["1.2","住房公积金",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.420"]
["1.3","环境保护税",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},""]
["2","税金",null,"分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",{"$nulls":4},"9.000"]
{"$rows_empty":29}
["合  计"]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":6},"复核人（造价工程师）："]